Immunocytochemistry on Paraffin Sections (ICC) ABC Method

VDAC with Citrate Pretreatment

DAY 1 Deparaffinize sections.

Xylene #1		5 minutes

Xylene #2		5 minutes

Xylene #3		5 minutes

100% EtOH #1	3 minutes

100% EtOH #2	3 minutes

100% EtOH #3	3 minutes

95%   EtOH	3 minutes

70%   EtOH	3 minutes

- Quick rinse 0.1M Tris.  5 minute rinse 0.1M Tris.

- 10 minutes in 3% H2O2 diluted in ddH2O.

- Quick rinse 0.1M Tris.  5 minute rinse 0.1M Tris.

- Citrate Treatment.  Make Citrate solution, pH 6:

82ml 0.1M sodium citrate + 18 ml 0.1M Citric Acid + 900ml ddH2O

Bring citrate solution to a boil.  Add slides.  Boil 10 minutes.  Cool slides in citrate solution for 10 minutes.

- Quick rinse 0.1M Tris.  5 minute rinse 0.1M Tris.

- 5 minute rinse Tris/BSA.

- Carefully wipe slide around sections.  Outline sections with hydrophobic pen.  Do only 2 slides at a time so sections don’t dry out.  Sections always need to be kept moist.

- Incubate slides in 4% Normal Serum for 20 minutes in humid chamber. (Use blocking serum from species secondary antibody is made in; for example for a mouse monoclonal primary antibody detected with a horse anti mouse secondary antibody, block in horse serum.)

Incubate with primary antibody overnight at 4oC in humid chamber.  Make primary antibody up in TAB.

DAY 2

- Quick rinse Tris Buffer.  5 minute rinse Tris Buffer.

- 5 minute rinse Tris/BSA.

- Incubate with biotinylated  Secondary Antibody (from Vector)1 hour at room temperature in humid chamber.

- At 30 minutes into Secondary Antibody incubation, make up Concentrated ABC reagent.  See recipe page.

- Quick rinse slides in Tris Buffer.  5 minute rinse Tris Buffer.

- 5 minute rinse Tris/BSA.

- Make dilute ABC Reagent. See recipe page.

- Incubate slides with dilute ABC Reagent 1 hour at room temperature.

- Quick rinse Tris.  10 minute rinse Tris Buffer.

- Incubate slides in DAB solution 10 minutes. See recipe page. Dip slides in ddH2O.  Dispose of ddH20 rinse in DAB waste container.  2 quick rinses ddH2O.  Dispose of all DAB waste in DAB waste container.  Decontaminate using dilute bleach.

- Dehydrate slides:

70% EtOH		5 minutes

95% EtOH		5 minutes

100%EtOH	5 minutes

100%EtOH	5 minutes

100%EtOH	5 minutes

Xylene		5 minutes

Xylene		5 minutes

Xylene		5 minutes

- Coverslip using DPX reagent.

Solutions for ABC ICC

- 0.1M Tris Buffer

To about 900ml ddH2O, add 13.22g Tris HCl + 1.94g Tris Base. Adjust pH to 7.4.  Stir.  Adjust final volume to 1L with ddH2O

- Tris/BSA Solution(Tris/Bovine Serum Albumin)

To 250ml Tris Buffer solution add 1.25g BSA (warm BSA to room temperature before weighing).  Stir to dissolve.  Adjust pH to 7.4.

- TAB Solution (Tris Azide BSA)

50ml Tris/BSA + 500l 10% Sodium Azide in ddH2O.

- 4% Normal Goat Serum

0.5ml Normal Goat Serum + 12ml TAB

- Secondary Antibody

Make up 1/400 in TAB

- ABC Reagent

Concentrated ABC from Vectastain ABC Kit (Vector catalog # PK-6100)

5ml Tris/BSA + 1 Drop A + 1 Drop B.  Cover, swirl, and incubate at room temperature 30 minutes.

Dilute ABC Reagent

5.7ml Tris/BSA + 1ml Concentrated ABC.  Mix well.

- DAB

DAB is a carcinogen.  Wear gloves and lab coat when using.  Be neat and dispose of properly.  Thaw DAB protected from light.

4ml Tris + 50l 0.1M imidizole + 1ml DAB  + 5l 30% H2O2 just before use.