Immunocytochemistry on Paraffin Sections (ICC)

DAY 1

- Deparaffinize sections.

Xylene #1		5 minutes

Xylene #2		5 minutes

Xylene #3		5 minutes

100% EtOH #1	3 minutes

100% EtOH #2	3 minutes

100% EtOH #3	3 minutes

95%   EtOH	3 minutes

70%   EtOH	3 minutes

- Quick rinse PBS.  5 minute rinse PBS.

- Carefully wipe slide around sections.  Outline sections with hydrophobic pen.  Do only 2 slides at a time so sections don’t dry out.  Sections always need to be kept moist.

- Incubate slides in 4% Normal Serum for 20 minutes in humid chamber. (Use blocking serum from species secondary antibody is made in; for example for a mouse monoclonal primary antibody detected with a horse anti mouse secondary antibody, block in horse serum.)

- Blot off Normal Serum.  Only do 2 slides at a time.

- Incubate with primary antibody overnight at 4oC in humid chamber.

*Do a section with no primary antibody to test what the background will be with fluorescent secondary antibody only.

DAY 2

- Quick rinse PBS.

- 5 minute rinse PBS.

- Incubate with Secondary Antibody 1 hour at room temperature in dark, humid chamber.  All following steps need to be done in the dark.

Alexa Fluor secondary antibody.  Choose appropriate antibody to detect primary antibody.  Dilute 1:300 in TAB.

- Quick rinse PBS.  5 minute rinse PBS.

- 2-3 quick rinses ddH2O.

- Coverslip with FluorSave Reagent (Calbiochem Catalog # 345789).  Store slides in the dark.

Solutions for Fluorescence ICC

- PBS

- Make 1L 0.1M NaH2PO4 (monobasic) by adding 13.8g NaH2PO4 to about 950ml ddH2O.  q.s. volume to 1L.

- Make 1L 0.1M Na2HPO4 (dibasic) by adding 14.2g Na2HPO4 into about 950ml

- Add 9g NaCl to the 1L of dibasic sodium phosphate.  Stir well to dissolve. Monobasic sodium phosphate to adjust pH to 7.4.

- Use ddH2O. q.s. volume to 1L.

- Recheck pH.

To about 900ml ddH2O, add 13.22g Tris HCl + 1.94g Tris Base. Adjust pH to 7.4.  Stir.  Adjust final volume to 1L with ddH2O

- PBS/BSA Solution(Tris/Bovine Serum Albumin)

To 250ml Tris Buffer solution add 1.25g BSA (warm BSA to room temperature before weighing).  Stir to dissolve.  Adjust pH to 7.4.

- PAB Solution (Tris Azide BSA)

50ml PBS/BSA + 500l 10% Sodium Azide in ddH2O.

- 4% Normal Horse Serum

0.5ml Normal Horse Serum + 12ml TAB